**STATUS OF EXISTING CCTV INFRASTRUCTURE**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **S/No** | | **Site Name** | **No. of Cameras** | **Working Cameras** | **Non Functional** | **Remarks / Comments** |
| **1** | Garden City | | 1 | 1 |  | * Fully operational with high definition video |
| **2** | Electoral Commission | | 1 | 1 |  | * Operational low video resolution * Old analog camera installed in 2007. |
| **3** | Crested Towers | | 1 | 1 |  | * Operational low video resolution * Old analog camera installed in 2007. |
| **4** | Housing Finance | | 1 | 1 |  | * Operational low video resolution * Old analog camera installed in 2007. |
| **5** | Kibuye | | 2 | 2 |  | * Operational low video resolution * Old analog camera installed in 2007. |
| **6** | Nsambya | | 1 |  | 1 | * Faulty * Old analog camera installed in 2007 |
| **7** | Crane Bank | | 1 | 1 |  | * Operational low video resolution * Old analog camera installed in 2007. |
| **8** | Kabalagala | | 1 |  | 1 | * Faulty * Old analog camera installed in 2007 |
| **9** | Radio One | | 1 | 1 |  | * Operational low video resolution * Old analog camera installed in 2007. |
| **10** | Parliament | | 3 | 3 |  | * Operational low video resolution * Old analog camera installed in 2007. |
| **11** | Punjani Motors | | 1 | 1 |  | * Operational low video resolution * Old analog camera installed in 2007. |
| **12** | King Fahd | | 2 | 2 |  | * Operational low video resolution * Old analog camera installed in 2007. |
| **13** | Holiday Express | | 2 | 2 |  | * Operational low video resolution * Old analog camera installed in 2007. |
| **14** | Equatorial | | 2 | 2 |  | * Operational low video resolution * Analog camera installed in 2007. |
| **15** | London Chambers | | 2 | 2 |  | * Operational low video resolution * Old analog camera installed in 2007. |
| **16** | CPS Kampala | | 1 | 1 |  | * Fully operational with high definition video |
| **17** | Shoprite | | 1 |  | 1 | * Faulty * Old analog camera installed in 2007 |
| **18** | Mini Price | | 1 | 1 |  | * Fully operational with high definition video |
| **19** | Mini Price 2 | | 2 | 2 |  | * Operational low video resolution * Old analog camera installed in 2007. |
| **20** | Giant Shopping | | 2 | 2 |  | * Operational low video resolution * Old analog camera installed in 2007. |
| **21** | Mitchell Cotts | | 2 |  | 2 | * Faulty * Old analog camera installed in 2007 |
| **22** | Mutaasa Kafero | | 2 |  | 2 | * Faulty * Old analog camera installed in 2007 |
| **23** | Entebbe Muzinga Park | | 2 |  | 2 | * Faulty * Old analog camera installed in 2007 |
| **24** | Conrad Plaza | | 1 | 1 |  | * Operational low video resolution * Old analog camera installed in 2007. |
| **25** | Clock Tower | | 2 | 2 |  | * Operational low video resolution * Old analog camera installed in 2007. |
| **26** | KPC | | 2 |  | 2 | * Faulty * Old analog camera installed in 2007 |
| **27** | Munyonyo | | 3 |  | 3 | * Faulty * Old analog camera installed in 2007 |
| **28** | Shimoni | | 1 |  | 1 | * Faulty * Old analog camera installed in 2007 |
| **29** | Kiseka Market | | 1 |  | 1 | * Not working. * No power * No network connectivity. * New digital camera |
| **30** | Gaba-Munyonyo | | 1 |  | 1 | * Not working * No network connectivity. * New digital camera |
| **31** | Nanjjanakumbi | | 1 |  | 1 | * Not working * No network connectivity. * New digital camera |
| **32** | Zana Junction | | 1 |  | 1 | * Not working * No network connectivity. * New digital camera |
| **33** | Kajjansi | | 1 |  | 1 | * Not working * No network connectivity. * New digital camera |
| **34** | Abaita ababiri | | 1 |  | 1 | * Not working * No network connectivity. * New digital camera |
| **35** | Kubiri Roundabout | | 1 |  | 1 | * Not working * No network connectivity. * New digital camera |
| **36** | Police Headquarters, Naguru | | 34 | 34 |  | * Fully operational with high definition video |
| **37** | JOC3 Katalima rd | | 1 |  | 1 | * Not working * Camera removed |
| **38** | Police Parking | | 1 | 1 |  | * Fully operational with high definition video |
| **39** | Mateeka House | | 1 | 1 |  | * Fully operational with high definition video |
| **40** | Quarter Guard | | 1 | 1 |  | * Fully operational with high definition video |
| **41** | Directorate of Forensics services | | 7 | 7 |  | * Fully operational with high definition video |
| **42** | Force Mechanical Workshop | | 25 | 25 |  | * Fully operational with high definition video at mechanical workshop monitoring center, only two are viewed at a time from the command center. |
| **TOTAL** | | | **121** | **98** | **23** |  |

**MOBILE CAMERAS**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **S/No** | **Motor Vehicle** | **No. of Cameras** | **Fixed Camera** | **Portable Camera** | **Remarks / Comments** |
| 1 | Scenes of Crime Van | 2 | 1 | 0 | * Camera system not fully operational ( Unable to pan, tilt and zoom ) * Software is outdated * System is in Chinese * Users lack training * Flood light faulty * Vehicle not fully equipped for purpose |
| 2 | Command and Control Van | 2 | 1 | 2 | * Portable Camera not fully operational (Faulty ) * Software is outdated * System is in Chinese * Flood light faulty * Vehicle not fully equipped for purpose. |